| STATUS REPORT |  |  |  |
| --- | --- | --- | --- |
| NEW PREMISES INVENTORY CHECKLIST-ON COMMERCIAL RD PLOT 2A |  |  |  |
| MATRIN MUCUNGUZI | PRINCIPAL | Signature here |  |
| Report Period: 21/January/2026 | INVENTORY ITEMS FOUND BEFORE OCCUPYING |  |  |
| Submission Date: 22nd/January/2025 |  |  |  |
| Winspire Learning Hub occupied the premises on 13th January 2026 and shall comply with the tenancy agreement signed thereafter. This report documents the condition and inventory of items found on the premises at the time of occupation. Below is a detailed list of all items present prior to occupation: No.; CATEGORY; ITEM DESCRIPTION; QTY; CONDITION; NOTES/REMARKS. 1; BUILDINGS. 1.1; Main Structure; Main House; 1; Good; Multi-room structure, structurally sound. 1.2; Secondary Structure; Small House; 1; Good; Single/double room structure. 1.3; Storage; Shed Building; 1; Fair; intact. 1.4; Access; Doors-small house; 1; Fair; Minor fixing. 1.5; Access; External Doors - Main House; 3; Good; intact. 1.6; Access; Internal Doors - Main House; 4; Fair; They are loose and have no keys. 1.7; Ventilation; Windows - Main House; 1; Fair; All present with frames, 1 isn’t opening. 1.8; Security; Window Grills/Burglar Bars; 8; Good; All windows have burglar bars installed. 2; COMPOUND & EXTERNAL. 2.1; Security; Main Gate; 1; Good; intact. 2.2; Fencing; Perimeter Fence; 1; Good; Complete perimeter, concrete posts, wire mesh but with 3 cracks. 2.3; Security; Barbed Wire; 1; Good; Installed on top of fence, complete coverage. 2.4; Lighting; Security Lights in Fence; 4; Fair; 3 working, 1 bulb needs replacement. 2.5; Lighting; Solar Lights; 2; Good; All functional, positioned around compound corners small gate. 2.6; Water Storage; Water Tank - Large; 1; Good; Approx. 10,000L capacity, clean, no visible leaks. 2.7; Water Storage; Water Tank - Small; 1; Good; Approx. 2,000L capacity, mounted properly. 2.8; Outdoor Space; Compound Size; 1; Good; intact. 2.9; Parking; Parking Space; 1; Good; Space for 2-3 vehicles. 2.10; Landscaping; Garden/Green Area; 1; Fair; Grass needs trimming, some bare patches. 2.11; Painted Fence; Wall fence; 1; Good; intact. 3; ELECTRICAL SYSTEM. 3.1; Power Supply; Electricity Meter; 1; Good; Meter Number-04246584637. 3.2; Distribution; Distribution Board/Breaker Box; 1; Good; Located in main house, all breakers functional. 3.3; Lighting; Light Fixtures - Main House; 2; Fair; working, 3 small bulbs isnt working. 3.4; Lighting; Light Fixtures - Small House; 3; Good; All functional with bulbs. 3.5; Lighting; Light Fixtures - Shed; 1; Fair; Fixture present, no bulb installed. 3.6; Power; Power Sockets - Main House; 12; Good; majority tested and working, few not working. 3.7; Power; Power Sockets - Small House; 4; Good; All tested and working. 3.8; Wiring; Overall Wiring Condition; N/A; Good; Wiring Intact. 4; PLUMBING & SANITATION. 4.1; Water Supply; Water Connections; 2; Good; Main house and small house connected. 4.2; Fixtures; Taps/Faucets; N/A; Fair; Mojority working properly, 2 don’t drip (kitchen). 4.3; Sanitation; Toilets; 2; Fair; Both functional, 1 seat slightly cracked. 4.4; Fixtures; Sinks; 3; Good; Kitchen and bathroom sinks intact. 4.5; Drainage; Drainage System; N/A; Fair; Functional but needs clearing in places. 4.6; Waste; Septic Tank/Sewer Connection; 1; Good; Septic tank present, location marked. 5; INTERIOR FIXTURES. 5.1; Kitchen; Kitchen Cabinets; Fair; Fair enough but functional,1 needs repair. 5.2; Storage; Built-in Wardrobes; 1; Good; intact. 5.3; Storage; Built-in Shelves; N/A; N/A. 5.4; Windows; Curtain Rods; N/A; N/A. 5.5; Security; Door Locks; Number and type. 5.6; Security; Keys Provided; Some doors have 1 key other have all keys. 6; FLOORING & FINISHES. 6.1; Main House; Floor Type; Good; Cement/Tiles intact. 6.2; Main House; Floor Condition; Good; Good and intact. 6.3; Small House; Floor Type; Good; Tiles intact. 6.4; Small House; Floor Condition; Fair; Fair, the tiles in 2 rooms looks they are used but still functional. 6.5; All Buildings; Wall Condition; Good; Painted and intact. 6.6; All Buildings; Ceiling Condition; Good; intact. 6.7; All Buildings; Roof Condition; Good; intact. DEFECTS OR REPAIRS NEEDED No.; Location; Issue Description; Urgency; Action Required. 1. 2. 3. |
| Landlord Acknowledgment: Name: ___________________________________ Signature: ________________________________ Date: ____________________________________ Prepared By: Ben Ewoku Date: 22nd January 2026 Confirmed By: Martin Mucunguzi (Principal) Signature: ________________________________ Date: 22nd January 2026 |  |  |  |