## Inventory_list_found
PREMISES INVENTORY CHECKLIST
Winspire Learning Hub
Occupation Date: 13th January 2026
No. | CATEGORY | ITEM DESCRIPTION | QTY | CONDITION | NOTES/REMARKS
1 | BUILDINGS
1.1 | Main Structure | Main House | 1 | Good | Multi-room structure, structurally sound
1.2 | Secondary Structure | Small House | 1 | Good | Single/double room structure
1.3 | Storage | Shed Building | 1 | Fair | Storage structure, roof needs minor repair
1.4 | Access | External Doors - Main House | 3 | Fair | Front door lock needs replacement
1.5 | Access | Internal Doors - Main House | 5 | Good | All doors functional, handles intact
1.6 | Ventilation | Windows - Main House | 8 | Fair | All present with frames, 2 panes cracked
1.7 | Security | Window Grills/Burglar Bars | 8 | Good | All windows have burglar bars installed
2 | COMPOUND & EXTERNAL
2.1 | Security | Main Gate | 1 | Fair | Metal gate, hinges rusty, needs oiling
2.2 | Fencing | Perimeter Fence | 1 | Good | Complete perimeter, concrete posts, wire mesh
2.3 | Security | Barbed Wire | 1 | Good | Installed on top of fence, complete coverage
2.4 | Lighting | Security Lights in Fence | 4 | Fair | 3 working, 1 bulb needs replacement
2.5 | Lighting | Solar Lights | 3 | Good | All functional, positioned around compound
2.6 | Water Storage | Water Tank - Large | 1 | Good | Approx. 10,000L capacity, clean, no visible leaks
2.7 | Water Storage | Water Tank - Small | 1 | Good | Approx. 2,000L capacity, mounted properly
2.8 | Outdoor Space | Compound Size | 1 | Good | Approx. 400 sqm, level ground
2.9 | Parking | Parking Space | 1 | Good | Space for 2-3 vehicles
2.1 | Landscaping | Garden/Green Area | 1 | Fair | Grass needs trimming, some bare patches
3 | ELECTRICAL SYSTEM
3.1 | Power Supply | Electricity Meter | 1 | Good | UMEME meter, number: [TO BE FILLED]
3.2 | Distribution | Distribution Board/Breaker Box | 1 | Good | Located in main house, all breakers functional
3.3 | Lighting | Light Fixtures - Main House | 8 | Fair | 6 working, 2 bulbs burnt out
3.4 | Lighting | Light Fixtures - Small House | 3 | Good | All functional with bulbs
3.5 | Lighting | Light Fixtures - Shed | 1 | Fair | Fixture present, no bulb installed
3.6 | Power | Power Sockets - Main House | 12 | Good | All tested and working
3.7 | Power | Power Sockets - Small House | 4 | Good | All tested and working
3.8 | Wiring | Overall Wiring Condition | N/A | Fair | Visible wiring appears old but functional
4 | PLUMBING & SANITATION
4.1 | Water Supply | Water Connections | 2 | Good | Main house and small house connected
4.2 | Fixtures | Taps/Faucets | 5 | Fair | 4 working properly, 1 drips slightly (kitchen)
4.3 | Sanitation | Toilets | 2 | Fair | Both functional, 1 seat slightly cracked
4.4 | Fixtures | Sinks | 3 | Good | Kitchen and bathroom sinks intact
4.5 | Drainage | Drainage System | N/A | Fair | Functional but needs clearing in places
4.6 | Waste | Septic Tank/Sewer Connection | 1 | Good | Septic tank present, location marked
5 | INTERIOR FIXTURES
5.1 | Kitchen | Kitchen Cabinets |  |  | If any present
5.2 | Storage | Built-in Wardrobes |  |  | If any present
5.3 | Storage | Built-in Shelves |  |  | Number and locations
5.4 | Windows | Curtain Rods |  |  | Number
5.5 | Security | Door Locks |  |  | Number and type
5.6 | Security | Keys Provided |  |  | Number and which doors
6 | FLOORING & FINISHES
6.1 | Main House | Floor Type |  |  | Cement/Tiles/Other
6.2 | Main House | Floor Condition |  |  | Good/Fair/Poor
6.3 | Small House | Floor Type |  |  | Cement/Tiles/Other
6.4 | Small House | Floor Condition |  |  | Good/Fair/Poor
6.5 | All Buildings | Wall Condition |  |  | Painted/Cracks/Damp
6.6 | All Buildings | Ceiling Condition |  |  | Good/Fair/Poor
6.7 | All Buildings | Roof Condition |  |  | Good/Fair/Leaks

## Sheet2
No. | Location | Issue Description | Urgency | Action Required
1
2
3